## Slide 1: MRI and Radiation Safety
Presented by the Radiology Quality Control Department

## Slide 2: MRI Safety
The Magnet is ALWAYS on!
Whether it is 2:00 AM and no one is home
OR
In the Middle of a Busy Day

## Slide 3: Signage in the Radiology area listing 4 MRI Safety Zones.
ZONE I
All areas freely accessible to the
general public without
supervision.
ZONE II
Still a public area, but this is the interface between the unregulated Zone I and the strictly regulated Zone III. MR safety screening typically occurs in this area under the direct supervision of the MRI Technologist.

## Slide 4: MRI Safety Zones
ZONE III
This is an area near the magnet room where the magnetic field is sufficiently strong enough to present a physical hazard to unscreened patients and personnel.
ZONE IV
MRI Magnet room. This has the highest magnetic field strength and from which ALL ferrous (Metal) objects must be excluded.

## Slide 5: MRI Safety Zones

## Slide 6: Powerful Electro Magnet
The MRI at MCHS is many times More Powerful than the Earth’s Gravity.
It WILL Take Ferrous (Metal)
Objects Away From You

## Slide 7: Credit Cards
Cards are Read Using a Magnetic Strip the MRI Will ERASE Them!

## Slide 8: QUESTIONS
If you have any
Questions Regarding What Can and
What Cannot Enter the MRI Suite
Ask the Technologist on Site
They Know Their Stuff!
Just Remember

## Slide 9: Radiation Safety
Let’s Discuss the
Different Types of
Radiation You Will
Encounter on the MCHS Campus

## Slide 10: Naturally Occurring
Also Known as
Background Radiation
Or NORM
Naturally Occurring Radioactive Material

## Slide 11: Electro-Magnetic
Electro-magnetically Produced
Radiation
X-Ray
Computerized Tomography (CT)
Special Procedures and Cath Lab

## Slide 12: Radiopharmaceuticals
Radiopharmaceuticals
Used to Treat Disease
Radio-Isotopes
Used to Detect Disease

## Slide 13: Radiation Causes Cellular and Biological Effects
Destruction of White Blood Cells
Destruction of Reticulocytes
Destruction of Reproductive Cells
Mutation of Genes

## Slide 14: Cellular/Biological
During the First Trimester, Cells and Cellular
Mitosis Occur at a VERY Rapid Rate
If you Are or If you Think
You might be Pregnant
Let Your Immediate Supervisor Know
If you Work near a source of Radiation

## Slide 15: The “Golden Rule”
The Golden Rule of
Radiation
Protection
REMEMBER THIS!!

## Slide 16: TIME
Limit Time;
Limit
Radiation
Exposure

## Slide 17: DISTANCE
Further From
A Source of
Radiation
Is
Better

## Slide 18: SHIELDING
Anything
Placed Between
You And the
Radiation Source

## Slide 19: REMEMBER ANYTHING!

## Slide 20: Radiation Detection
There are Many Different Types of Devices Used to Detect Radiation on
the MCHS Campus

## Slide 21: Electronic Devices
Geiger-Mueller Counter
Dose Calibrator

## Slide 22: Dosimetry
T.L.D. or Film Badge
Pocket Dosimeter

## Slide 23: RADIATION WARNING SIGNS
ALL SIMILAR
ALL SIMILAR

## Slide 24: QUESTIONS?
CONTACT
Cecil Sailors
Radiology Clinical Coordinator
432-640-1299
csailors@echd.org