## Slide 1: UTILITIES MANAGEMENT

## Slide 2: UTILITIES
The Engineering Department is responsible for providing maintenance support for the following utility systems within MCH:
Electrical power distribution system
Emergency power
Elevators
Heating, ventilation , and air conditioning
Plumbing
Boiler and steam
Central medical gas system
Central Vacuum system

## Slide 3: UTILITY SYSTEMS
Major Utility Systems provided at Medical Center Hospital include:
Electricity
Telephones
Computers
Water
Heat
Medical Gases

## Slide 4: UTILITIES
Medical Gases and Vacuum Shut-Off Valves
  All personnel should be familiar with the location of the shut-off valves in their area.

## Slide 5: UTILITIES
Emergency Power
  Hospitals are equipped with emergency generators which will start automatically if there is a loss of electrical power.
  Emergency generators are tested monthly.
  RED electrical outlets provide emergency
  power for critical patient care equipment.

## Slide 6: UTILITIES
Contact Engineering, Ext. 2600 for failure of all electrical systems
Contact Information Technology Computer Support, Ext. 1385 for failure of computer systems and telephone service.